## Sheet1
WQ_Spreadsheet_Header | Definition
Water_Level_ft>MSL | Groundwater level in feet above mean sea level using NGVD29 datum
DTW_ft<MeasuringPoint | Depth to water in feet below measuring point
Tidal_Movement_code | Tidal Movement represented as a code (1 = Ebb, 2 = Flood, 3 = Low Slack, 4 = High Slack)
Stage_ft | Manual gage reading in feet; may be either a staff gage or wire weight gage
Discharge_cfs | Manual discharge measurement in cubic feet per second
Purge_Volume_gal | Groundwater well casing purge volume in gallons; water volume purged before water quality sample taken
Water_Temp_C | Water temperature in degrees Celsius
Wind_Direction_degrees | Wind direction in compass degrees (North = 0, East = 90, South = 180, West = 270)
Wind_Speed_mph | Wind speed in miles per hour
Depth_Of_Collection-m | Depth in meters below water surface that water sample was collected at
Total_Depth-m | Total depth in meters below water surface; how far below water surface bottom is
Depth_Of_Collection-ft | Depth in feet below water surface that water sample was collected at
Cloud_Cover_percent | Cloud cover in percent
Weather_code | Weather represented as a code (20 = No Rain, 54 = Moderate Drizzle, 64 = Moderate Rain, 66 = Heavy Rain, 80 = Scattered Showers, 90 = Thunderstorms Series)
Salinity-ppt | Salinity in parts per thousand. Calculated from Specific Conductivity
TSS_mg/L | Total suspended solids in milligrams per liter
pH_Field | pH in standard units measured while in the field; measure of how acidic or alkaline the water is
SpCond_Field_us/cm | Conductivity corrected for temperature (specific conductivity) in microsiemens per centimeter measured in the field
SpCond_Lab_us/cm | Conductivity corrected for temperature (specific conductivity) in microsiemens per centimeter measured in the lab
Turbidity_Field_NTU | Turbidity in nephelometric turbidity units measured in the field using instruments that comply with EPA Method 180.1; using white or broadband litght source with peak spectral output of 400-680 nm
Turbidity_Field_FNU | Turbidity in formazin turbidity units measured in the field using a submersible turbidity sensor; using infrared, monochromatic light source with typical output in 780-900 nm range
Turbidity_Lab_NTU | Turbidity in nephelometric turbidity units measured in the lab using instruments that comply with EPA Method 180.1; using white or broadband litght source with peak spectral output of 400-680 nm
Secchi_m | Secci disc measurement in meters below surface where the secci disk visibly disappears; measurement of water clarity
Color_Filtered_PCU | True color of water sample in platinum cobalt units measured in the lab at 455nm wavelength on a filtered sample
Color_Unfiltered_PCU | Apparent color of water sample in platinum cobalt units measured in the lab on an unfiltered sample
Color_Filtered_410nm_PCU | True color of water sample in platinum cobalt units measured in the lab at 410nm wavelength on a filtered sample
Color_Filtered_410nm_Abs | True color of water sample in raw absorbance value measured in the lab at 410nm wavelength on a filtered sample
Color_Field_PCU | Apparent color of water sample in platinum cobalt units measured in the field on a unfiltered sample
Color_Filtered_455nm_Abs | True color of water sample in raw absorbance value measured in the lab at 455nm wavelength on a filtered sample
Color_Filtered_440nm_PCU | True color of water sample in platinum cobalt units measured in the lab at 440nm wavelength on a filtered sample
Color_Filtered_440nm_Abs | True color of water sample in raw absorbance value measured in the lab at 440nm wavelength on a filtered sample
Air_Temp_C | Air temperature in degrees Celsius
pH_Lab | pH in standard units measured in the lab; measure of how acidic or alkaline the water is
Color_pH_Initial | Initial pH for the Color sample, needed to determine if the pH needs to be adjusted before sample is run for color as specified in the lab method
Color_pH_Adjusted | pH for the Color sample after adjustment, before color sample is run as specified in the lab method
Alkalinity_mg/L | Alkalinity measured as milligrams per liter of calcium carbonate (CaCO3); measurement of the water's ability to resist change in pH
Hardness_Calc_mg/L | Hardness calculated as milligrams per liter of calcium (Ca) and magnesium (Mg)
VSS_mg/L | Volatile suspended solids as milligrams per liter
TDS_mg/L | Total Dissolved Solids as milligrams per liter
Ca-T_mg/L | Calcium as Ca in milligrams per liter; unfiltered sample
Ca-D_mg/L | Calcium as Ca in milligrams per liter; filtered sample
Cl-T_mg/L | Chloride as Cl in milligrams per liter; unfiltered sample
Cl-D_mg/L | Chloride as Cl in milligrams per liter; filtered sample
Mg-T_mg/L | Magnesium as Mg in milligrams per liter; unfiltered sample
Mg-D_mg/L | Magnesium as Mg in milligrams per liter; filtered sample
NO2-T_mg/L | Nitrite as N in milligrams per liter; unfiltered sample
NO3-T_mg/L | Nitrate as N in milligrams per liter; unfiltered sample
NOx-T_mg/L | Nitrate plus nitrite as N in milligrams per liter; unfiltered sample
NOx-D_mg/L | Nitrate plus nitrite as N in milligrams per liter; filtered sample
TKN-T_mg/L | Total Kjeldahl Nitrogen (organic nitrogen plus ammonium) as N in milligrams per liter; unfiltered sample
TN-T_mg/L | Total Nitrogen (organic nitrogen plus ammonium plus nitrate plus nitrite) as N in milligrams per liter; unfiltered sample
NH4-D_mg/L | Ammonium as N in milligrams per liter; filtered sample
NH4-T_mg/L | Ammonium as N in milligrams per liter; unfiltered sample
DO_mg/L | Dissolved oxygen in milligrams per liter measured in the field
DO_PctSat | Dissolved oxygen in percent saturation measured in the field
PO4-T_mg/L | Phophate as P in milligrams per liter; unfiltered sample
TP-T_mg/L | Total phosphorus as P in milligrams per liter; unfiltered sample
PO4-D_mg/L | Phophate as P in milligrams per liter; filtered sample
K-T_mg/L | Potassium as K in milligrams per liter; unfiltered sample
K-D_mg/L | Potassium as K in milligrams per liter; filtered sample
Na-T_mg/L | Sodium as Na in milligrams per liter; unfiltered sample
Na-D_mg/L | Sodium as Na in milligrams per liter; filtered sample
SO4-T_mg/L | Sulfate as SO4 in milligrams per liter; unfiltered sample
SO4-D_mg/L | Sulfate as SO4 in milligrams per liter; filtered sample
Al-T_ug/L | Aluminum as Al in micrograms per liter; unfiltered sample
Sb-T_ug/L | Antimony as Sb in micrograms per liter; unfiltered sample
As-T_ug/L | Arsenic as As in micrograms per liter; unfiltered sample
Ba-T_ug/L | Barium as Ba in micrograms per liter; unfiltered sample
Cd-T_ug/L | Cadmium as Cd in micrograms per liter; unfiltered sample
Cr-T_ug/L | Chromium as Cr in micrograms per liter; unfiltered sample
Cu-T_ug/L | Copper as Cu in micrograms per liter; unfiltered sample
F-T_mg/L | Fluoride as F in milligrams per liter; unfiltered sample
F-D_mg/L | Fluoride as F in milligrams per liter; filtered sample
Fe-T_ug/L | Iron as Fe in micrograms per liter; unfiltered sample
Fe-D_ug/L | Iron as Fe in micrograms per liter; filtered sample
Pb-T_ug/L | Lead as Pb in micrograms per liter; unfiltered sample
Mn-T_ug/L | Manganese as Mn in micrograms per liter; unfiltered sample
Mo-T_ug/L | Molybdenum as Mo in micrograms per liter; unfiltered sample
Ni-T_ug/L | Nickel as Ni in micrograms per liter; unfiltered sample
Se-T_ug/L | Selenium as Se in micrograms per liter; unfiltered sample
Si-T_mg/L | Silica as Si in milligrams per liter; unfiltered sample
SiO2_T_mg/L | Silicon dioxide as SiO2 in milligrams per liter; unfiltered sample
SiO2_D_mg/L | Silicon dioxide as SiO2 in milligrams per liter; filtered sample
Ag-T_ug/L | Silver as Ag in micrograms per liter; unfiltered sample
Sr-T_ug/L | Strontium as Sr in micrograms per liter; unfiltered sample
Sr-D_ug/L | Strontium as Sr in micrograms per liter; filtered sample
Sn-T_ug/L | Tin as Sn in micrograms per liter; unfiltered sample
V-T_ug/L | Vanadium as V in micrograms per liter; unfiltered sample
Zn-T_ug/L | Zinc as Zn in micrograms per liter; unfiltered sample
BOD_mg/L | Biochemical oxygen demand in milligrams per liter
TOC_mg/L | Total organic carbon in milligrams per liter; unfiltered sample
DOC_mg/L | Dissolved organic carbon in milligrams per liter; filtered sample
Chl-A_mg/L | Chlorophyll-a uncorrected for Pheophytin in milligrams per liter
Chl-B_mg/L | Chlorophyll-b uncorrected for Pheophytin in milligrams per liter
Chl-C_mg/L | Chlorophyll-c uncorrected for Pheophytin in milligrams per liter
Chl-A_Corr_mg/L | Chlorophyll-a corrected for Pheophytin in milligrams per liter
Pheophytin_Corr_mg/L | Pheophytin Corrected in milligrams per liter
Ratio_Chl-A/Pheo | The ratio of chlorophyll-a to pheophytin
Be-T_ug/L | Beryllium as Be in micrograms per liter; unfiltered sample
Tl-T_ug/L | Thallium as Tl in micrograms per liter; unfiltered sample
SAV_Status_code | Submerged aquatic vegetation status represented as a code (0 = Absent, 1 = present)